## EPL Pollution Data
EPL - Pollution Monitoring Data
Environment Protection Licence Number: |  | 416
Licensee: |  | Austar Coal Mine Pty Limited
Premises: |  | Austar Coal Mine
Wollombi Road
Pelton NSW 2325
Link to full Environment Protection Licence: |  | http://www.epa.nsw.gov.au/prpoeoapp/ViewPOEOLicence.aspx?DOCID=33526&SYSUID=1&LICID=416
Sampling Period: |  | June 2019
Date Last Data Obtained During Period: |  | 2019-07-04
Date Published: |  | 2019-07-09
Volume Limits
[8 empty] | Date Data Obtained: | N/A
EPA Point ID (Austar Point ID) | Type of Monitoring Point | Unit of Measure | Monitoring Frequency Required by Licence | No. of Samples Required During Month by Licence | No. of Samples Taken During Month | Volume Limit (KL/day) | Monthly Volume Discharged (KL) | Maximum Volume Discharged (KL/day) | Monitored Result | Exceedance (Yes/No)
Point 1 (SW1) | Wet Weather Discharge - Emergency Dam Spillway | kilolitres per day (KL/day) | Daily collected at a minimum of twelve hourly intervals when a discharge is occurring | 0 | 0 | 2000 | 0 | 0 | Nil Discharge | No
[8 empty] | Date Data Obtained: | 2019-07-04
EPA Point ID (Austar Point ID) | Type of Monitoring Point | Unit of Measure | Monitoring Frequency Required by Licence | No. of Samples Required During Month by Licence | No. of Samples Taken During Month | Volume Limit (KL/day measured as an Annual Average) | Monthly Volume Discharged (KL) | YTD Volume Discharged (KL) | Current Volume Discharged as an Annual Average (KL/day) | Exceedance (Yes/No)
Point 6 (SW6) | Discharge to Waters -1ML Tank Discharge to Bellbird Creek | kilolitres per day (KL/day) | Monthly at a minimum of four weekly intervals | 1 | 1 | 5000 | 21800 | 240900 | 1595 | No
Note: The Volume Limit for Point 6 is to be measured as an annual average.
Concentration Limits
[7 empty] | Date of Sampling: | N/A
EPA Point ID (Austar Point ID) | Type of Monitoring Point | Pollutant | Units of Measure | Monitoring Frequency Required by Licence | No. of Samples Required During Month by Licence | No. of Samples Taken During Month | 100 Percentile Concentration Limit | Monitored Result | Exceedance (Yes/No)
Point 1 (SW1) | Discharge Water Quality | pH | pH units | Daily sample collection at a minimum of twelve hourly intervals when a discharge is occurring | 0 - Nil Discharge | 0 | 6.5-8.5 | N/A | N/A
|  | Total Dissolved Solids | milligrams per litre (mg/L) |  | 0 - Nil Discharge | 0 | 6000 | N/A | N/A
|  | Total Suspended Solids | milligrams per litre (mg/L) |  | 0 - Nil Discharge | 0 | 50 | N/A | N/A
|  | Iron | milligrams per litre (mg/L) |  | 0 - Nil Discharge | 0 | 1 | N/A | N/A
[6 empty] | Date of Sampling: | 2019-06-06
EPA Point ID (Austar Point ID) | Type of Monitoring Point | Pollutant | Units of Measure | Monitoring Frequency Required by Licence | No. of Samples Required During Month by Licence | No. of Samples Taken During Month | Monitored Result
Point 2 (SW2) | Ambient Water Quality - Bellbird Creek, Pinch Bridge | pH | pH units | Sample collection 3 times per week during any period of discharge from Point 1 at a minimum of 48 hour intervals commencing as soon as practical after discharge has commenced. Once per month during any period of discharge from Point 6 at a minimum of 4 weekly intervals | 1 | 1 | 6.13
|  | Conductivity | microsiemens per centimetre (µS/cm) |  | 1 | 1 | 364
|  | Total Suspended Solids | milligrams per litre (mg/L) |  | 1 | 1 | <5
|  | Iron | milligrams per litre (mg/L) |  | 1 | 1 | <0.05
Note: No EPL concentration limits for Ambient Water Quality Results
[6 empty] | Date of Sampling: | 2019-06-06
EPA Point ID (Austar Point ID) | Type of Monitoring Point | Pollutant | Units of Measure | Monitoring Frequency Required by Licence | No. of Samples Required During Month by Licence | No. of Samples Taken During Month | Monitored Result
Point 4 (SW4) | Ambient Water Quality - Bellbird Creek Downstream Boundary | pH | pH units | Sample collection 3 times per week during any period of discharge from Point 1 at a minimum of 48 hour intervals commencing as soon as practical after discharge has commenced. Once per month during any period of discharge from Point 6 at a minimum of 4 weekly intervals | 1 | 1 | 6.34
|  | Conductivity | microsiemens per centimetre (µS/cm) |  | 1 | 1 | 374
|  | Total Suspended Solids | milligrams per litre (mg/L) |  | 1 | 1 | <5
|  | Iron | milligrams per litre (mg/L) |  | 1 | 1 | 0.08
Note: No EPL concentration limits for Ambient Water Quality Results
[6 empty] | Date of Sampling: | 2019-06-06
EPA Point ID (Austar Point ID) | Type of Monitoring Point | Pollutant | Units of Measure | Monitoring Frequency Required by Licence | No. of Samples Required During Month by Licence | No. of Samples Taken During Month | Monitored Result
Point 5 (SW5) | Ambient Water Quality - Bellbird Creek Upstream Boundary | pH | pH units | Sample collection 3 times per week during any period of discharge from Point 1 at a minimum of 48 hour intervals commencing as soon as practical after discharge has commenced. Once per month during any period of discharge from Point 6 at a minimum of 4 weekly intervals | 1 | 0 | 7.04
|  | Conductivity | microsiemens per centimetre (µS/cm) |  | 1 | 0 | 382
|  | Total Suspended Solids | milligrams per litre (mg/L) |  | 1 | 0 | <5
|  | Iron | milligrams per litre (mg/L) |  | 1 | 0 | 0.22
Note: No EPL concentration limits for Ambient Water Quality Results
[7 empty] | Date of Sampling: | 2019-06-06
EPA Point ID (Austar Point ID) | Type of Monitoring Point | Pollutant | Units of Measure | Monitoring Frequency Required by Licence | No. of Samples Required During Month by Licence | No. of Samples Taken During Month | 100 Percentile Concentration Limit | Monitored Result | Exceedance (Yes/No)
Point 6 (SW6) | Discharge Water Quality - 1ML Tank Discharge to Bellbird Creek | pH | pH units | Sample collection once per month at a minimum of four weekly intervals | 1 | 1 | 6.5-8.5 | 6.99 | No
|  | Conductivity | microsiemens per centimetre (µS/cm) |  | 1 | 1 | 600 | 355 | No
|  | Total Suspended Solids | milligrams per litre (mg/L) |  | 1 | 1 | 50 | <5 | No
|  | Iron | milligrams per litre (mg/L) |  | 1 | 1 | 1 | <0.05 | No
Correction Log
EPA Point ID (Austar Point ID) | Sample Date | Pollutant | Original Data | Corrected Data | Date Corrected | Date Originally Published | Reason